## Slide 1
Cybersecurity Technology for Critical Power Infrastructure AI-Based Centralized Defense and Edge Resilience
Israel-U.S. Energy Center
(Cyber Topic)
Task 7 Malware Threat Mitigation in SCADA/ICS (SCAWATCH)
Dr. Wenke Lee, Feng Bo
Georgia Institute of Technology
October 9-10, 2023
BIRD Workshop at ASU

## Slide 2
Power Substations
Nuclear Plants
Water Treatment
Processes
Supervisory Control and Data Acquisition (SCADA) Systems
Physical
Measurements
Control
Commands
CONTROL ROOM
Physical processes, actuators, sensors
exhibit continuous “physics” behavior
Software-based systems execute
physical domain operations
Embedded Controllers/PLCs
SEMANTIC GAP
Malware Attacks are a big problem in SCADA/ICS Networks

## Slide 3: Modern ICS/SCADA Attack Challenges
How do adversaries attack devices from SCADA ?
  Modern attacks focus on disrupting process “semantics”
What cyber resources/tactics are used to launch attacks ?
  They use/infect legitimate SCADA tools via non-device inputs.
How do adversaries evade deployed defenses ?
  They blends with SCADA & injects stealthy deviations
STUXNET ATTACK
INDUSTROYER ATTACK
INFECT
STAGE
ATTACK
INFECT
STAGE
ATTACK
SCADA
SCADA
Examples
PAST MALWARE ATTACKS
(LAUNCHED VIA THE SCADA HOST)
2010 Stuxnet: Iran centrifuge system
2014 Havex (various organizations)
2016/2022 Industroyer: Ukrainian Power
2021 Oldsmar: Water Treatment Plant
2021 Colonial Attack: Oil and gas Pipeline

## Slide 4
Limitations of Existing Detection Techniques
2. Physical Anomaly Models
Detects sensor data deviation [NDSS 19, CCS 18]
Raises high false alarms due to physical faults, errors, noise
Inspects after-effects of attacks, cannot validate cyber attacks
Power Distribution
Nuclear Plants
Water Treatment Process
Supervisory Control and Data Acquisition (SCADA) Systems
Physical
Measurements
Control
Commands
Controllers
CONTROL ROOM
1. PLC Logic Defense
Detects altered ladder logic [CCS 21, IEEE S&P 19]
SCADA adversary can change PLC parameters without touching logic
Summary: Existing techniques perform their analysis in isolation due to the semantic gap between SCADA and physical processes. They cannot correlate the cross-domain behavior of ICS attacks
3. Statistical Traffic Analysis
Detects abnormal traffic pattern
[ICSS 19, IEEE 21]
Effective for noisy attacks, e.g., malformed protocols, network scans, etc.,
Evaded by modern attacks which uses legitimate tools to emit normal traffic pattern
4. Host Anomaly-based Detection
Detects abnormal system calls
[ACSAC 2017, IEEE 20]
Evaded by attacks with normal system calls
Cannot validate attacks’ physical effects
Notes: Add Citations [NDSS 15]

## Slide 5: Summary of our work (SCAWATCH)
SCAWATCH is a passive alerting system to alert ICS operators of suspicious activities in SCADA host and running physical processes
We are collaborating with industry partners, Meptagon and RAD to integrate SCAWATCH in practical settings
SCAWATCH detects attacks in SCADA via statistical violations of SCADA process-control operations and suspicious manipulation of device-control resources (e.g., COM, OPC, etc.)
SCAWATCH then correlates detected SCADA attacks with anomalies in running processes via a ML neural network framework.

## Slide 6: Detecting Malware (Code Execution) in ICS/SCADA Hosts
Stuxnet
Industroyer
Havex
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Oldsmar
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
SCADA is the critical-path for a cyber attacker to disrupt/damage the physical side
  Majority of in-the-wild ICS malware were launched from the SCADA hosts systems (Industroyer vs. Stuxnet tactics)
  Stealth attacks infect legitimate SCADA software and inject malicious code into its “physical-bound’ execution
Focus for BIRD Task 14
Dr. Sukarno
Controller Tolerance and Resilience
Our (Task 7) Integration Collaborators
Advised by BIRD Task 11
Dr. Mirsky
AI-based Intrusion Detection

## Slide 7: SCADA Host Execution vs. Network Traffic
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Attacker can emit “normal” network patterns

## Slide 8: Physical-Bound SCADA Host Execution
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Key point: We analyze what system activity (execution) led to the control commands
If control commands are generated via attacker’s injected code, it will be anomalous to the legitimate semantics used to generate the commands

## Slide 9
MODBUS
SCADA Server
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Statistical Analysis of Physical-bound Host Execution
Frequency and Temporal Dependencies
Control Command Dependency
Control Time-Interval
Control Burst-Interval
Control Frequency
This categorization offers some explain-ability of detected anomalies
Write

## Slide 10: Code (SCAWATCH) Released to our Industry Partner
https://github.com/lordmoses/SCAWATCH
git clone https://github.com/lordmoses/SCAWATCH.git
cd SCAWATCH
pip install -r requirements.txt
Edit config.json
python3 scawatch.py
To end things, press CTRL -C
{
"size_limit" : 50,
"check_interval" : 5,
"procmon_location" : "C:/Users/Desktop/Procmon.exe",
"scada_process" : "ScadaBR.exe",
"ENABLE_LOCAL_STORAGE": 1,
"SEND_LOGS_TO_REMOTE_SERVER": 1,
"remote_server_machine" : "avatar@AVATAR.gatech.edu",
"remote_server_folder" : "/home/AVATAR",
"ssh_client_identity_file" : "C:/Users/.ssh/id_rsa",
"DEBUG_MODE" : 0
}
Configuration config.json
Installation Steps
The software process that talks to the PLC. If using MODBUS, use netstat to check for communication to port 502
Netstat –tap
Established connection
ScadaBR.exe [72392] : PLC IP [502]
This code release
  Fully automated SCADA execution tracing, capture, storage management, and remote transfer
  Anomaly detection (on NEXT release)
But what about Windows EVTX host logs ? (e.g., collected by Task 3 OTORIO)
EVTX is system-wide events (coarse, noisy). SCAWATCH is software process-specific (narrow, fine-grained)
  Enables analysis of SCADA physical-bound execution
We developed a custom and automated continuous management (e.g., remote transfer) of traces

## Slide 11
Case Study: Industroyer Malware Power Grid Attack
LoadLibrary
CreateFile(COM)
Write(COM)
(OPCClientDemo.dll)
IOPCBrowseServerAddress
Read(COM)
RegEnumKey ..
(OPC Tag IOA)
Notes: This describe the steps in modelling physical impact, as shown. We toggle each actuator and then measure the moving averages of the process setpoint changes.
Through this, we developed a formulation to assign each actuator an Impact coefficient or IC.

## Slide 12: End-to-End Deployment Architecture (Passive Monitoring & Alerting)
ScadaBR
FactoryIO
OpenPLC
REAL
ENVIRONMENT
(In Progress)
TEST ENVIRONMENT (Tested)
Collaboration and Integration
RAD and Meptagon
Note on Practical Deployment Scenario
SCAWATCH is a passive alerting system to alert operators of suspicious activities. That is, it will not automatically block SCADA commands but serve as an alert for operator to make the final decision (e.g., block commands, quarantine the SCADA host). Note that alerts may contain low false positives, In practice, based on other information e.g., anomaly score or other alarms/events triggered on the OT network, the operator can decide to block the SCADA system.
Anomaly correlation and detection runs here. VM and code will be released
Notes: To detect ICS attacks, existing defenses can be grouped into sensor-based, PLC-based, and host-based. Sensor-based tools are the most popular, and they work by learning normal sensor readings, such as using machine learning or physical equations, and then flag anomalous values at runtime. However, they raise high false alarms due to benign anomalies such as noise, faults, and errors.
False alarms are costly in OT, because apart from causing operator fatigue, since they may have to travel to the field to check out the alarms, false alarms can also lead to the shutdown of the plant, which may disrupt essential life services like electricity.
PLC defense can detect modified PLC logic. However, a SCADA adversary can modify PLC I/O at runtime to disrupt devices without touching the logic
Host-based defense can flag anomalous or non-SCADA Api calls. However, modern attacks can use normal APIs to perform their attacks.
In general, existing tools perform their analysis in isolation and hence lack additional context to validate their findings. For example, when sensor tools detect physical anomalies, they don’t have a way to know if it is an actual attack from SCADA, which can be helpful to rule out false alarms such as benign mal-function. The inability to do this is due to the semantic gap between SCADA execution and their physical world sensor effects.
(ADDED)
1:40

## Slide 13: QUESTIONS
Thank You