## Slide 1
Cybersecurity Technology for Critical Power Infrastructure AI-Based Centralized Defense and Edge Resilience
Israel-U.S. Energy Center
(Cyber Topic)
Task 7 Malware Threat Mitigation
Dr. Wenke Lee, Feng Bo
Georgia Institute of Technology
October 9-10, 2023
BIRD Workshop at ASU

## Slide 2: Detecting Malware (Code Execution) in ICS/SCADA Hosts
Stuxnet
Industroyer
Havex
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Oldsmar
Read Measurements
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Showing the Cybersecurity Problem and Threat Model
Write Setpoints
DNP3

## Slide 3: Detecting Malware (Code Execution) in ICS/SCADA Hosts
Stuxnet
Industroyer
Havex
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Oldsmar
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
SCADA is the critical-path for a cyber attacker to disrupt/damage the physical side
  Majority of in-the-wild ICS malware were launched from the SCADA hosts systems (Industroyer vs. Stuxnet tactics)
  Stealth attacks infect legitimate SCADA software and inject malicious code into its “physical-bound’ execution
Focus for BIRD Task 14
Dr. Sukarno
Controller Tolerance and Resilience
Our (Task 7) Integration Collaborators
Advised by BIRD Task 11
Dr. Mirsky
AI-based Intrusion Detection

## Slide 4: SCADA Host Execution vs. Network Traffic
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Attacker can emit “normal” network patterns

## Slide 5: Physical-Bound SCADA Host Execution
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Key point: We analyze what system activity (execution) led to the control commands
If control commands are generated via attacker’s injected code, it will be anomalous to the legitimate semantics used to generate the commands

## Slide 6
MODBUS
SCADA Server
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Statistical Analysis of Physical-bound Host Execution
Frequency and Temporal Dependencies
Control Command Dependency
Control Time-Interval
Control Burst-Interval
Control Frequency
This categorization offers some explain-ability of detected anomalies
Write

## Slide 7: Code (SCAWATCH) Released to our Industry Partner
https://github.com/lordmoses/SCAWATCH
git clone https://github.com/lordmoses/SCAWATCH.git
cd SCAWATCH
pip install -r requirements.txt
Edit config.json
python3 scawatch.py
To end things, press CTRL -C
{
"size_limit" : 50,
"check_interval" : 5,
"procmon_location" : "C:/Users/Desktop/Procmon.exe",
"scada_process" : "ScadaBR.exe",
"ENABLE_LOCAL_STORAGE": 1,
"SEND_LOGS_TO_REMOTE_SERVER": 1,
"remote_server_machine" : "avatar@AVATAR.gatech.edu",
"remote_server_folder" : "/home/AVATAR",
"ssh_client_identity_file" : "C:/Users/.ssh/id_rsa",
"DEBUG_MODE" : 0
}
Configuration config.json
Installation Steps
The software process that talks to the PLC. If using MODBUS, use netstat to check for communication to port 502
Netstat –tap
Established connection
ScadaBR.exe [72392] : PLC IP [502]
This code release
  Fully automated SCADA execution tracing, capture, storage management, and remote transfer
  Anomaly detection (on NEXT release)
But what about Windows EVTX host logs ? (e.g., collected by Task 3 OTORIO)
EVTX is system-wide events (coarse, noisy). SCAWATCH is software process-specific (narrow, fine-grained)
  Enables analysis of SCADA physical-bound execution
We developed a custom and automated continuous management (e.g., remote transfer) of traces

## Slide 8: End-to-End Deployment Scenario (Passive Monitoring and Alerting)
ScadaBR
FactoryIO
OpenPLC
REAL
ENVIRONMENT
(In Progress)
TEST ENVIRONMENT (Tested)
Review Workshop IV Checklist
Collaboration
  RAD and Meptagon
Commercialization Potential
  Architecture/algorithm for SCADA-specific host anomaly alerting
Integration
  Dr. Sukarno (Task 14 GIT) and Dr. Yisroel (Task BGU)
Anomaly correlation and detection runs here. VM and code will be released
Notes: To detect ICS attacks, existing defenses can be grouped into sensor-based, PLC-based, and host-based. Sensor-based tools are the most popular, and they work by learning normal sensor readings, such as using machine learning or physical equations, and then flag anomalous values at runtime. However, they raise high false alarms due to benign anomalies such as noise, faults, and errors.
False alarms are costly in OT, because apart from causing operator fatigue, since they may have to travel to the field to check out the alarms, false alarms can also lead to the shutdown of the plant, which may disrupt essential life services like electricity.
PLC defense can detect modified PLC logic. However, a SCADA adversary can modify PLC I/O at runtime to disrupt devices without touching the logic
Host-based defense can flag anomalous or non-SCADA Api calls. However, modern attacks can use normal APIs to perform their attacks.
In general, existing tools perform their analysis in isolation and hence lack additional context to validate their findings. For example, when sensor tools detect physical anomalies, they don’t have a way to know if it is an actual attack from SCADA, which can be helpful to rule out false alarms such as benign mal-function. The inability to do this is due to the semantic gap between SCADA execution and their physical world sensor effects.
(ADDED)
1:40

## Slide 9: QUESTIONS
Thank You