## Slide 1
Cybersecurity Technology for Critical Power Infrastructure AI-Based Centralized Defense and Edge Resilience
Israel-U.S.
Energy Center
Practical Deployment Architecture for Alerting Malware Activity in ICS/SCADA Networks
Dr. Wenke Lee, Moses Ike
(Presented by Bo Feng)
Georgia Institute of Technology
BIRD Workshop at ASU
October 9 – 10, 2023

## Slide 2
Power
Substations
Nuclear
Plants
Water
Treatment
Processes
Supervisory Control and Data Acquisition (SCADA) Systems
Physical
Measurements
Control
Commands
CONTROL ROOM
Physical processes, actuators, sensors
exhibit continuous “physics” behavior
Software-based systems execute
physical domain operations
Embedded Controllers/PLCs
SEMANTIC GAP
Malware Attacks are a big problem in SCADA/ICS Networks

## Slide 3: Modern ICS/SCADA Host Attack Challenges
STUXNET ATTACK
INDUSTROYER ATTACK
INFECT
STAGE
ATTACK
INFECT
STAGE
ATTACK
SCADA
SCADA
Examples
PAST MALWARE ATTACKS
(LAUNCHED VIA THE SCADA HOST)
2010 Stuxnet: Iran centrifuge system
2014 Havex (various organizations)
2016/2022 Industroyer: Ukrainian Power
2021 Oldsmar: Water Treatment Plant
2021 Colonial Attack: Oil and gas Pipeline
INFECT SCADA -> STAGE PAYLOAD -> ATTACK PROCESSES

## Slide 4: Summary of our work (SCAWATCH)
SCAWATCH is a passive alerting system to alert ICS operators of suspicious malware activities in SCADA host
We are collaborating with industry partners, Meptagon and RAD, to integrate SCAWATCH to deploy in practical ICS/SCADA networks
SCAWATCH detects attacks in SCADA via (1) statistical violations of process-control executions and (2) suspicious manipulation of SCADA physical-control resources (e.g., COM ports, PLC interfaces)
SCAWATCH then correlates detected SCADA attacks with anomalies in running processes via a ML neural network framework.
Tested on experimental data. Details and technical paper can be found in https://github.com/lordmoses/SCAWATCH.
Next Steps: To test SCAWATCH on real-world (SCADA+process) data from our industry partners. (In progress)

## Slide 5
MODBUS
0
IT Network
HMI
OPC Server
SCADA Server
HTTP
OPC-UA
Read
Write
Supervisory Control
~1 - 2000ms
Basic Control
~1 - 10ms
Read
Read
Read
Read
Write
Key point: We analyze what system activity (execution) led to the control commands
If control commands are generated via attacker’s injected code, it will be anomalous to the legitimate semantics used to generate the commands
Detecting Malware (Code Execution) in ICS/SCADA Hosts

## Slide 6
Statistical Analysis of Physical-bound SCADA Execution
Algorithmic Formulation for Frequency and Temporal Dependencies
Control Command Dependency
Control Time-Interval
Control Burst-Interval
Control Frequency
This categorization offers some explain-ability of detected anomalies

## Slide 7: Learning Process Behavior with Transformer-Based Autoencoder
Learning normal sensor/actuator time series
Actuator/Sensor time slice may not be causally related
Actuation are periodic, e.g., rising edge or peak values
Autoencoder Error Re-construction
Reference Paper: Attention is All you Need
https://arxiv.org/abs/1706.03762
Notes: To detect ICS attacks, existing defenses can be grouped into sensor-based, PLC-based, and host-based. Sensor-based tools are the most popular, and they work by learning normal sensor readings, such as using machine learning or physical equations, and then flag anomalous values at runtime. However, they raise high false alarms due to benign anomalies such as noise, faults, and errors.
False alarms are costly in OT, because apart from causing operator fatigue, since they may have to travel to the field to check out the alarms, false alarms can also lead to the shutdown of the plant, which may disrupt essential life services like electricity.
PLC defense can detect modified PLC logic. However, a SCADA adversary can modify PLC I/O at runtime to disrupt devices without touching the logic
Host-based defense can flag anomalous or non-SCADA Api calls. However, modern attacks can use normal APIs to perform their attacks.
In general, existing tools perform their analysis in isolation and hence lack additional context to validate their findings. For example, when sensor tools detect physical anomalies, they don’t have a way to know if it is an actual attack from SCADA, which can be helpful to rule out false alarms such as benign mal-function. The inability to do this is due to the semantic gap between SCADA execution and their physical world sensor effects.
(ADDED)
1:40

## Slide 8: Code (SCAWATCH) Released to our Industry Partner
https://github.com/lordmoses/SCAWATCH
git clone https://github.com/lordmoses/SCAWATCH.git
cd SCAWATCH
pip install -r requirements.txt
Edit config.json
python3 scawatch.py
To end things, press CTRL -C
{
"size_limit" : 50,
"check_interval" : 5,
"procmon_location" : "C:/Users/Desktop/Procmon.exe",
"scada_process" : "ScadaBR.exe",
"ENABLE_LOCAL_STORAGE": 1,
"SEND_LOGS_TO_REMOTE_SERVER": 1,
"remote_server_machine" : "avatar@AVATAR.gatech.edu",
"remote_server_folder" : "/home/AVATAR",
"ssh_client_identity_file" : "C:/Users/.ssh/id_rsa",
"DEBUG_MODE" : 0
}
Configuration config.json
Installation Steps
The software process that talks to the PLC. If using MODBUS, use netstat to check for communication to port 502
Netstat –tap
Established connection
ScadaBR.exe [72392] : PLC IP [502]
This code release
  Fully automated SCADA execution tracing, capture, storage management, and remote transfer. Builts on top of Promon.
  Anomaly detection (on NEXT release)

## Slide 9: End-to-End Architecture for Passive Monitoring & Alerting of SCADA Attacks (Very promising for Practical Deployment and Commercialization)
ScadaBR
FactoryIO
OpenPLC
REAL
ENVIRONMENT
(In Progress)
TESTED ON AN EXPERIMENTAL ENVIRONMENT (with open-source tools)
Anomaly correlation and detection runs here. VM and code will be released

## Slide 10: QUESTIONS
Thank You
NEXT: BACKUP SLIDES